*Norwich Technical High School - Electronics Technology Date Updated: 1/4/2024*

*7 Mahan Drive*

*Norwich, CT 06360*

**TITLE: Testing an Analog/Digital Trainer**

**APPROVALS:**

**Author: Gavin Croy & Cristien Walworth Date: Jan 3, 2024**

**Review: Date:**

1. **Revision History:**

|  |  |  |  |
| --- | --- | --- | --- |
| **NAME** | **REV** | **DATE** | **SUMMARY OF CHANGES** |
| **Gavin Croy &** [Cristien Walworth](mailto:cristien.walworth@cttech.org) | **A** | **1/3/2024** | **Initial** |
|  |  |  |  |

1. **Purpose:**
   1. To test all the basic functions of an analog/digital breadboard trainer to ensure proper functionality.
2. **Safety:**
   1. Don’t open up the trainer while power is on.
   2. Don’t remove anything built on to the breadboard while power is on.
3. **Materials:**

* Analog/Digital breadboard trainer
* Breadboard
* 22 AWG wire
* Digital Multimeter (DMM)
* Digital Oscilloscope
* Access to “*Breadboard Trainer’s List”* Google sheet

1. **Procedure:**

|  |  |  |
| --- | --- | --- |
| **Step** | **Procedure** | **Picture** |
|  | **Testing DC Voltage:**  **Set DMM to DC voltage. Insert positive lead on DMM to +5V and insert negative lead on DMM to GND. record results from DMM and upload them to *“Breadboard Trainer’s List.”*** |  |
|  | **Testing DC Voltage:**  **Insert positive lead on DMM to adjustable +V and insert negative lead on DMM to GND. Use the +V Adjustment knob to test for proper functionality. Record results from DMM and upload them to *“Breadboard Trainer’s List.”* Repeat this for adjustable -V and use the -V Adjustment knob.** |  |
|  | **Testing AC Voltage:**  **Set DMM to AC voltage. Insert positive lead on DMM to RED 12.6VAC and insert negative lead on DMM to BLUE 12.6VAC. Record results from DMM and upload them to *“Breadboard Trainer’s List.”* Then, move the positive lead to YELLOW CT 12.6VAC and keep negative lead at BLUE 12.6VAC. Record results from DMM and upload them to *“Breadboard Trainer’s List.”*** |  |
|  | **Testing PushButtons:**  **Set DMM to continuity mode. Insert 22 AWG wire into NC. Connect DMM positive lead on DMM to NC wire and insert negative lead on DMM to GND. Push the button and record results from DMM and upload them to *“Breadboard Trainer’s List.”* Repeat this for all pushbuttons.** |  |
|  | **Testing POTs (Potentiometers):**  **Set DMM to ohmmeter. Connect a 22 AWG wire into the outside rail (left or right) and one into the wiper rail (middle). Connect DMM positive lead to outside rail wire and DMM negative lead to wiper rail wire. Turn the adjustable corresponding knob. Record results from DMM and upload them to *“Breadboard Trainer’s List.”* Repeat this for all POTs.** |  |
|  | **Testing Function Generator:**  **Use an oscilloscope. Insert a 22 AWG wire into the generator and one 22 AWG wire into GND. Connect the probe to both wires. Turn all knobs and check for functionality on the oscilloscope. Make sure each output wave is properly displayed and all of its functions. Record results from oscilloscope and upload them to *“Breadboard Trainer’s List.”*** |  |
|  | **Testing Logic Switches.**  **Set DMM to DC Voltage. Insert 22 AWG wire into slot 1 on the logic switches breadboard. Place positive lead on wire and insert negative lead into GND. Record results from DMM and upload them to *“Breadboard Trainer’s List.”* Repeat for all switches.** |  |
|  | **Testing Logic Monitor:**  **Insert 22 AWG wire into +5V and insert it into any slot on the breadboard. Check if each light turns on for HIGH. Record results and upload them to *“Breadboard Trainer’s List.”* Repeat the same with GND and LOW.** |  |
|  | **Testing Logic Probe:**  **Insert 22 AWG wire into +5V and place it in VCC on the LOGIC PROBE. Connect a 22 AWG wire from a logic switch to the input of the Logic Probe and check that all of the LEDs light up. Record results and upload them to *“Breadboard Trainer’s List.”*** |  |
|  | **Testing BCD 7 Segment DIsplay:**  **Insert 22 AWG wire into any logic switch. And connect it to any row on the breadboard of the 7 segment display. Check that each display displays a number. Record results and upload them to *“Breadboard Trainer’s List.”*** |  |
| 1. **12** | **Testing SPDT Switches:**  **Set DMM to continuity. Insert 22 AWG wire into the left (or right) rail and middle rail. Check for continuity while flipping the switch. Record results on DMM and upload them to *“Breadboard Trainer’s List.”*** |  |
|  | **Testing Speaker:**  **Insert 22 AWG wire into the frequency generator and one into the left side of the speaker. Insert other wire from the right side of the speaker to GND. Check if the speaker works. Record results and upload them to *“Breadboard Trainer’s List.”*** |  |
|  | **Testing BNC:**  **Set DMM to continuity. Insert 22 AWG wire into top of the breadboard of BNC. Connect the positive lead of DMM to the center pin of the BNC input and connect the negative lead to the end of the wire. Record results on DMM and upload them to *“Breadboard Trainer’s List.”* Then, move the wire to the bottom of the breadboard. Connect the positive lead of DMM to outside of the BNC input and connect the negative lead to the end of the wire. Record results on DMM and upload them to *“Breadboard Trainer’s List.”*** |  |